## Sheet1
Number | Checkbox | Item to Review | Notes | Area of House
1 | FALSE | Mailbox present, intact and includes house number |  | Exterior
2 | FALSE | Trash can present |  | Exterior
3 | FALSE | Porch and railing sturdy |  | Exterior
4 | FALSE | Soffit, fascia, gutters, siding intact |  | Exterior
5 | FALSE | Trees and foilage not dangerous to structure |  | Exterior
6 | FALSE | Sheds lockable and safe |  | Exterior
7 | FALSE | Windows lock |  | Exterior
8 | FALSE | Gas on / hooked up |  | Exterior
9 | FALSE | Front porch light works |  | Exterior
10 | FALSE | Spigots work, no leaks |  | Exterior
11 | FALSE | Crawlspace vents installed, door access |  | Exterior
12 | FALSE | Outside unit is clear of debris |  | Exterior
13 | FALSE | IF there is a gate, make sure it closes |  | Exterior
14 | FALSE | Lighting works |  | Living Space
15 | FALSE | Closet doors function |  | Living Space
16 | FALSE | Outlets, wall plates installed and functional |  | Living Space
17 | FALSE | Exterior doors close and latch |  | Living Space
18 | FALSE | Weather stripping present |  | Living Space
19 | FALSE | Smoke detectors present and functional |  | Living Space
20 | FALSE | Door closes and latches |  | Bathroom
21 | FALSE | Lighting works |  | Bathroom
22 | FALSE | Outlets, GFCI, wall plates installed and functional |  | Bathroom
23 | FALSE | Vanity secure |  | Bathroom
24 | FALSE | Mirror / medicine cabinet secure |  | Bathroom
25 | FALSE | Sink drains, no leaks |  | Bathroom
26 | FALSE | Hot and cold water works |  | Bathroom
27 | FALSE | Toilet flushes and fills |  | Bathroom
28 | FALSE | Toilet base doesn't leak when flushed |  | Bathroom
29 | FALSE | Bathroom fixtures secured |  | Bathroom
30 | FALSE | Shower head is clean and doesn't leak |  | Bathroom
31 | FALSE | Hot and cold water works in shower |  | Bathroom
32 | FALSE | Tub diverter works |  | Bathroom
33 | FALSE | Stopper present |  | Bathroom
34 | FALSE | Window locks, blinds present |  | Bathroom
35 | FALSE | Exhaust fan works |  | Bathroom
36 | FALSE | Shower door glides, secure |  | Bathroom
37 | FALSE | Doors open and close |  | Bedrooms
38 | FALSE | Doors latch |  | Bedrooms
39 | FALSE | Lighting works |  | Bedrooms
40 | FALSE | Outlets, wall plates installed and functional |  | Bedrooms
41 | FALSE | Closet has shelving, and dowl rod |  | Bedrooms
42 | FALSE | Windows lock |  | Bedrooms
43 | FALSE | Cabinets open and close |  | Kitchen
44 | FALSE | Drawers work |  | Kitchen
45 | FALSE | Cabinet shelving present and secured |  | Kitchen
46 | FALSE | Sink drains, no leaks |  | Kitchen
47 | FALSE | Hot and cold water work |  | Kitchen
48 | FALSE | No leaks under sink |  | Kitchen
49 | FALSE | Spray hose works |  | Kitchen
50 | FALSE | Stove top drip pans |  | Kitchen
51 | FALSE | Elements present |  | Kitchen
52 | FALSE | Oven racks present |  | Kitchen
53 | FALSE | Oven works |  | Kitchen
54 | FALSE | Oven present |  | Kitchen
55 | FALSE | Range hood works |  | Kitchen
56 | FALSE | Fridge present |  | Kitchen
57 | FALSE | Fridge water supply hooked up |  | Kitchen
58 | FALSE | Disposal works |  | Kitchen
59 | FALSE | Window locks |  | Kitchen
60 | FALSE | Dishwasher present |  | Kitchen
61 | FALSE | Dishwasher secured |  | Kitchen
62 | FALSE | Outlets, GFCI, wall plates installed and functional |  | Kitchen
63 | FALSE | Filter cleaned |  | HVAC Heating and Cooling
64 | FALSE | Filter size recorded |  | HVAC Heating and Cooling
65 | FALSE | Heat and cold air work |  | HVAC Heating and Cooling
66 | FALSE | Thermostat works |  | HVAC Heating and Cooling
67 | FALSE | All floor registers present |  | HVAC Heating and Cooling
68 | FALSE | Window units |  | HVAC Heating and Cooling
69 | FALSE | Wall / baseboard heaters work, have knobs |  | HVAC Heating and Cooling
70 | FALSE | Mini split works, filter clean |  | HVAC Heating and Cooling
71 | FALSE | Water heater not leaking, covers screwed on |  | Utility Room
72 | FALSE | Breaker panel check |  | Utility Room
73 | FALSE | Lighting |  | Utility Room
74 | FALSE | Door closes and latches |  | Utility Room
75 | FALSE | Dryer hookup present, venting |  | Utility Room
76 | FALSE | Washer and dryer hookups prensent, venting |  | Utility Room
77 | FALSE | Attic door access |  | Misc.
78 | FALSE | Check for washer and dryer |  | Misc.
79 | FALSE | Garage door functions |  | Misc.
80 | FALSE | Flooring condition-general |  | Misc.
81 | FALSE | Test all ceiling fans |  | Misc.
82 | FALSE | Wall paint |  | Misc.